## Slide 1: ECE 476 Power System Analysis
Lecture 12: Power Flow
Prof. Tom Overbye
Dept. of Electrical and Computer Engineering
University of Illinois at Urbana-Champaign
overbye@illinois.edu
Special Guest Lecturer: TA Iyke Idehen

## Slide 2: Announcements
Please read Chapter 2.4, Chapter 6 up to 6.6
HW 5 is 5.31, 5.43, 3.4, 3.10, 3.14, 3.19, 3.23, 3.60, 6.30 should be done before exam 1
Exam 1 is Thursday Oct 6 in class
  Closed book, closed notes, but you may bring one 8.5 by 11 inch note sheet and standard calculators
  Last name A-M here, N to Z in ECEB 1013

## Slide 3: Power Flow Analysis
When analyzing power systems we know neither the complex bus voltages nor the complex current injections
Rather, we know the complex power being consumed by the load, and the power being injected by the generators plus their voltage magnitudes
Therefore we can not directly use the Ybus equations, but rather must use the power balance equations

## Slide 4: Power Balance Equations

## Slide 5: Power Balance Equations, cont’d

## Slide 6: Real Power Balance Equations

## Slide 7: Power Flow Requires Iterative Solution

## Slide 8: Gauss Iteration

## Slide 9: Gauss Iteration Example

## Slide 10: Stopping Criteria

## Slide 11: Gauss Power Flow

## Slide 12: Gauss Two Bus Power Flow Example
A 100 MW, 50 Mvar load is connected to a generator
through a line with z = 0.02 + j0.06 p.u. and line charging of 5 Mvar on each end (100 MVA base). Also, there is a 25 Mvar capacitor at bus 2. If the generator voltage is 1.0 p.u., what is V2?
SLoad = 1.0 + j0.5 p.u.

## Slide 13: Gauss Two Bus Example, cont’d

## Slide 14: Gauss Two Bus Example, cont’d

## Slide 15: Gauss Two Bus Example, cont’d

## Slide 16: Slack Bus
In previous example we specified S2 and V1 and then solved for S1 and V2.
We can not arbitrarily specify S at all buses because total generation must equal total load + total losses
We also need an angle reference bus.
To solve these problems we define one bus as the "slack" bus. This bus has a fixed voltage magnitude and angle, and a varying real/reactive power injection.

## Slide 17: Stated Another Way
From exam problem 4.c we had
This Ybus is actually singular!
So we cannot solve
This means (as you might expect), we cannot independently specify all the current injections I

## Slide 18: Gauss with Many Bus Systems

## Slide 19: Gauss-Seidel Iteration

## Slide 20: Three Types of Power Flow Buses
There are three main types of power flow buses
  Load (PQ) at which P/Q are fixed; iteration solves for voltage magnitude and angle.
  Slack at which the voltage magnitude and angle are fixed; iteration solves for P/Q injections
  Generator (PV) at which P and |V| are fixed; iteration solves for voltage angle and Q injection
    special coding is needed to include PV buses in the Gauss-Seidel iteration (covered in book, but not in slides since Gauss-Seidel is no longer commonly used)

## Slide 21: Accelerated G-S Convergence

## Slide 22: Accelerated Convergence, cont’d

## Slide 23: Gauss-Seidel Advantages/Disadvantages
Advantages
  Each iteration is relatively fast (computational order is proportional to number of branches + number of buses in the system
  Relatively easy to program
Disadvantages
  Tends to converge relatively slowly, although this can be improved with acceleration
  Has tendency to miss solutions, particularly on large systems
  Tends to diverge on cases with negative branch reactances (common with compensated lines)
  Need to program using complex numbers

## Slide 24: Newton-Raphson Algorithm
The second major power flow solution method is the Newton-Raphson algorithm
Key idea behind Newton-Raphson is to use sequential linearization

## Slide 25: Newton-Raphson Method (scalar)

## Slide 26: Newton-Raphson Method, cont’d

## Slide 27: Newton-Raphson Example

## Slide 28: Newton-Raphson Example, cont’d

## Slide 29: Sequential Linear Approximations
Function is f(x) = x2 - 2 = 0.
Solutions are points where
f(x) intersects f(x) = 0 axis
At each
iteration the
N-R method
uses a linear
approximation
to determine
the next value
for x

## Slide 30: Newton-Raphson Comments
When close to the solution the error decreases quite quickly -- method has quadratic convergence
f(x(v)) is known as the mismatch, which we would like to drive to zero
Stopping criteria is when f(x(v))  < 
Results are dependent upon the initial guess. What if we had guessed x(0) = 0, or x (0) = -1?
A solution’s region of attraction (ROA) is the set of initial guesses that converge to the particular solution. The ROA is often hard to determine