## Slide 1: ECE 530 – Analysis Techniques for Large-Scale Electrical Systems
Prof. Hao Zhu
Dept. of Electrical and Computer Engineering
University of Illinois at Urbana-Champaign
haozhu@illinois.edu
11/18/2015
Lecture 22: Singular Value Decomposition

## Slide 2: Announcements
HW 6 posted, due Tuesday, December 1
Final exam on Monday Dec 14 from 1:30 to 4:30pm in this room (ECEB-3081)
  Closed book, closed notes; you can bring in two note sheets (one new note sheet and midterm exam note sheet), along with simple calculators

## Slide 3: Singular Value Decomposition
An extremely useful matrix analysis technique is the singular value decomposition (SVD).
For any m by n real matrix A, it can be represented by where U (V) is an m by m (n by n) orthogonal matrix (UTU = I), is an m by n diagonal matrix with entries (singular values of A)
with
Computational order is O(n2m); ok if n is small
Source: Y. Saad, Lecture notes for CSCI 5304 at UMN http://www-users.cs.umn.edu/~saad/csci5304/

## Slide 4: SVD Existence and Uniqueness
Let
There exists a pair of unit vectors and such that
Complete into an orthonormal basis as
Similarly,
Thus,
Only holds if
Induction proof: proceed with B

## Slide 5: Two SVD Cases

## Slide 6: The “Thin” SVD
For the Case-1, it can be rewritten as
which gives rise to
with U1 is m by n (same shape as ) and is n by n
Referred to as the “thin” SVD; useful for tall matrices
Q: how can one obtain the thin SVD from the QR factorization of A and the SVD of an n by n matrix?

## Slide 7: SVD Properties
Assume that
and
Then we have the following properties
  number of positive singular values
  Range span
  Null span
The matrix A admits the SVD expansion

## Slide 8: SVD Properties
Largest singular value
Frobenius norm
If A is an n by n nonsingular matrix then are singular values of and
Consider the r by r diagonal , we can show that
This gives the eigen-decomposition of (or )

## Slide 9: SVD Applications
Based on the SVD expansion
the best rank-k approximation of A is
Sometimes each rank-1 component is termed as a mode
An immediate application is data compression for e.g., an image; only a small number of modes suffice

## Slide 10: SVD Image Compression Example
Image source http://fourier.eng.hmc.edu/e161/lectures/svdcompression.html

## Slide 11: SVD Applications
A related application is denoising.
Noise strength is uniform across all modes, so it affects more the smaller singular values
To remove noise effects, one can take the rank-k SVD approximation by ignoring small singular-value modes
This is also related to principal component analysis (PCA), where the singular vectors can serve as the transformation to make any input data uncorrelated

## Slide 12: PCA Example
Inexplicitly assuming input to be zero-mean Gaussian

## Slide 13: Pseudo-inverse of a Matrix
The pseudo-inverse of a matrix generalizes concept of a matrix inverse to a non-square matrix
  Often called as Moore-Penrose Matrix Inverse
Notation for the pseudo-inverse of A is A+ (or )
Has to satisfy (i) AA+A = A, (ii) A+AA+ = A,
(iii) (AA+)H = AA+, (iv) (A+A)H = A+A
If A is nonsingular, then A+ = A-1

## Slide 14: Pseudo-inverse and LS
Pseudo-inverse can be directly obtained from SVD
Recall the LS solution is given by the normal equations
Thus we have
Even if is not of full column rank, the pseudo-inverse based LS solution is the minimizer to with the smallest 2-norm among all possible minimizers

## Slide 15: Simple Least Squares Example
Assume we which to fix a line (mx + b = y) to three data points: (1,1), (2,4), (6,4)
Two unknowns, m and b; hence x = [m b]T
Setup in form of Ax = b

## Slide 16: Simple Least Squares Example
Doing the SVD
Computing the pseudo-inverse

## Slide 17: Simple Least Squares Example
Computing x = [m b]T gives
With the pseudo-inverse approach we immediately see the sensitivity of the elements of x to the elements of b

## Slide 18: Modal Identification
An important application of SVD in power systems is related to its linearized dynamic modeling
with each state
Values and are determined by the initial conditions at
Parameters and are based on eigenvalues of

## Slide 19: Matrix Pencil Method
The goal of modal identification is to find the poles of the dynamic systems
The matrix pencil (MP) method measures the output to produce a matrix with roots as
A generalized eigenvalue problem

## Slide 20: MP Procedure
Choose pencil parameter L s.t. (~N/2)
Construct matrix
Perform an SVD of
Construct two matrices and from as
Construct two matrices
The desired obtained as the generalized eigenvalues of ; i.e.,

## Slide 21: Toy Example
Three-mode waveform
MP solution

## Slide 22: Power System Example
Dynamic PSS/E simulation of a large Midwest utility system
Number of modes unknown
FFT results

## Slide 23: Power System Example
Use MP to extract five modes
Reconstruction results (MP + two other methods)