ECE 530		Problem Set #1						Fall 2015

Due 9/9/15

- Read “Renewables to Overtake King Coal Under Obama Carbon Regs” by  Peter Fairley: http://spectrum.ieee.org/energywise/energy/fossil-fuels/under-obama-carbon-rules-renewables-dethrone-king-coal

Type your response to the following questions.

- What is the gist of Obama's Clean Power Plan?

- The article points out that rushed shutdown of coal-fired plants could potentially increase the possibility of power grid blackouts. Please briefly explain this in the context of the fundamental operational requirements for power systems as discussed in Lecture 1.

- Assume the below diagram models a balanced three-phase system in which a 100 + j50 MVA load (total for all three phases) is supplied at 69 kV (line-to-line). First, redraw the network using a per unit representation with a 100 MVA base (3-phase), and a 69 kV voltage base for the load (3-phase). How much (actual) real and reactive power is being supplied by the generator (source) on the left?

- Consider the following two-bus case with generator bus 1 and load bus 2.

Assumed the generator bus voltage phasor is fixed at V1 = 1.0 (everything in p.u.), and the bus 2 is connected to a constant power load such that its power injection S2 = -2 - 1.268 j . Write the power balance equations at bus 2 for variables x1 = |V2| and x2 = θ2 .

Use Newton-Raphson to solve for (x1, x2).  Start with an initial guess of x1(0) = 1 and x2(0) = 0

radians, and a stopping criteria of ε = 10-4.

- In the space on this page determine the bus admittance matrix (Ybus) for the following power system (note that some of the values have already been determined for you).  Except where noted otherwise, assume all values are per unit using a 100 MVA base.

Sample System					Line impedances and charging values

i-j		     Zij		       Yij/2

1-2	0.02 + j 0.06	j 0.030

1-3	0.08 + j 0.24	j 0.025

2-3	0.06 + j 0.18	j 0.020

2-4	0.08 + j 0.24	j 0.025

2-5	0.02 + j 0.06	j 0.010

3-4	0.04 + j 0.12	j 0.015

4-5	0.06 + j 0.18	j 0.020

Bus admittance matrix (Ybus)

| 6.25 - j 18.695 | -5.00 + j 15.00 | -1.25 + j 3.75 | 0 | 0 |
| --- | --- | --- | --- | --- |
| -5.00 + j 15.00 |  |  |  |  |

Now assume that a 0.5 per unit shunt resistance is added at bus 3 (i.e., on each phase a 0.5 per unit resistance is connected phase to ground).  Calculate the new value of Y33:

Y33 = ___________________        Do any other values of Ybus change?   __________

Now assume that a 75 Mvar (three-phase) shunt capacitance is added at bus 4.  Calculate the new value of Y44:

Y44 = ______________________