## Slide 1: ECE 330: Power Circuits and Electromechanics
Subhonmesh Bose
Electrical and Computer Engineering,
University of Illinois at Urbana Champaign
ECE 330, Spring 2018

## Slide 2: Course topics
Phasors and three phase circuits
Magnetic circuits and transformers
Electromechanical energy conversion
Stability of dynamical systems
Generator and motor designs
…the principles behind the electric power system

## Slide 3: Electric power system
An electric power system is a network of electrical components used to supply, transfer and use electric power. Courtesy: Wikipedia
Supply = generate
Transfer = transmit and distribute
Use = consume
*Images in the presentation are taken from various sources on the internet unless mentioned otherwise, including Wikipedia, Hyperphysics, among others.

## Slide 4: Generating electricity
Changing flux creates a voltage across the coil
Faraday’ law
Q. How do we “change” flux?
A. Two ways:
  Change strength of magnetic field
  Move the magnet around

## Slide 5: Generating electricity
Electric current produces a magnetic field
Ampere’s law
Q. How do we “change” flux?
A. Two ways:
  Change electric current
  Move the coil around

## Slide 6: Generating electricity

## Slide 7: Transmitting electricity
Piece of wire

## Slide 8: Transmitting electricity

## Slide 9: Transmitting electricity

## Slide 10: Transmitting electricity

## Slide 11: Transmitting electricity

## Slide 12: Consuming electricity

## Slide 13: Consuming electricity
Current carrying wire in a magnetic field experiences a force
Lorentz force
Use this force to move a coil.

## Slide 14: Consuming electricity
Courtesy: NASA

## Slide 15: Course topics
Phasors and three phase circuits
Magnetic circuits and transformers
Electromechanical energy conversion
Stability of dynamical systems
Generator and motor designs
…the principles behind the electric power system