## Slide 1: ECE 476 Power System Analysis
Lecture 17: Economic Dispatch
Prof. Tom Overbye
Dept. of Electrical and Computer Engineering
University of Illinois at Urbana-Champaign
overbye@illinois.edu
Special Guest Lecturer: TA Iyke Idehen

## Slide 2: Announcements
Please read Chapter 7
HW 6 is due today
HW 7 is 6.62, 6.63, 6.69, 6.71 due on Oct 27; this one must be turned in on Oct 27 (hence there will be no quiz that day)

## Slide 3: Basic Gas Turbine
Brayton Cycle: Working fluid is always a gas
Most common fuel is natural gas
Typical efficiency is around 30 to 35%
2
Notes: Not

## Slide 4: Combined Cycle Power Plant
Efficiencies of up to 60% can be achieved, with even higher values when the steam is used for heating. Fuel is usually natural gas
3
Notes: CCPP uses both gas and steam turbines to produce more electricity from the same fuel than the traditional systems
The CCPP improves the efficiency of the overall system by utilizing an assembly of different engines
The first turbine is driven by its working fluid, thus generating the required torque to drive the generator shaft
The remaining energy stored in the exhaust fluid is then used to drive another turbine/generator shaft.
This arrangement extracts more energy from the working fluid which is then sent to the grid.

## Slide 5: Generator Cost Curves
Generator costs are typically represented by up to four different curves
  input/output (I/O) curve
  fuel-cost curve
  heat-rate curve
  incremental cost curve
For reference
  1 Btu (British thermal unit) = 1054 J
  1 MBtu = 1x106 Btu
  1 MBtu = 0.293 MWh
  3.41 Mbtu = 1 MWh
4

## Slide 6: I/O Curve
The IO curve plots fuel input (in MBtu/hr) versus net MW output.
5

## Slide 7: Fuel-cost Curve
The fuel-cost curve is the I/O curve scaled by fuel cost. A typical cost for coal is $ 1.70/Mbtu.
6

## Slide 8: Heat-rate Curve
Plots the average number of MBtu/hr of fuel input needed per MW of output.
Heat-rate curve is the I/O curve scaled by MW
Best for most efficient units are
around 9.0
7

## Slide 9: Incremental (Marginal) cost Curve
Plots the incremental $/MWh as a function of MW.
Found by differentiating the cost curve
8

## Slide 10: Mathematical Formulation of Costs
Generator cost curves are usually not smooth. However the curves can usually be adequately approximated using piece-wise smooth, functions.
Two representations predominate
  quadratic or cubic functions
  piecewise linear functions
In 476 we'll assume a quadratic presentation
9

## Slide 11: Coal Usage Example 1
A 500 MW (net) generator is 35% efficient. It is being supplied with Western grade coal, which costs $1.70 per MBtu and has 9000 Btu per pound. What is the coal usage in lbs/hr? What is the cost?
10

## Slide 12: Coal Usage Example 2
Assume a 100W lamp is left on by mistake for 8 hours, and that the electricity is supplied by the previous coal plant and that transmission/distribution losses are 20%. How coal has been used?
11

## Slide 13: Incremental Cost Example
12

## Slide 14: Incremental Cost Example, cont'd
13

## Slide 15: Economic Dispatch: Formulation
The goal of economic dispatch is to determine the generation dispatch that minimizes the instantaneous operating cost, subject to the constraint that total generation = total load + losses
Initially we'll
ignore generator
limits and the
losses
14

## Slide 16: Unconstrained Minimization
This is a minimization problem with a single inequality constraint
For an unconstrained minimization a necessary (but not sufficient) condition for a minimum is the gradient of the function must be zero,
The gradient generalizes the first derivative for multi-variable problems:
15

## Slide 17: Minimization with Equality Constraint
When the minimization is constrained with an equality constraint we can solve the problem using the method of Lagrange Multipliers
Key idea is to modify a constrained minimization problem to be an unconstrained problem
16

## Slide 18: Economic Dispatch Lagrangian
17

## Slide 19: Economic Dispatch Example
18

## Slide 20: Economic Dispatch Example, cont’d
19

## Slide 21: Lambda-Iteration Solution Method
The direct solution only works well if the incremental cost curves are linear and no generators are at their limits
A more general method is known as the lambda-iteration
  the method requires that there be a unique mapping between a value of lambda and each generator’s MW output
  the method then starts with values of lambda below and above the optimal value, and then iteratively brackets the optimal value
20

## Slide 22: Lambda-Iteration Algorithm
21

## Slide 23: Lambda-Iteration: Graphical View
In the graph shown below for each value of lambda
there is a unique PGi for each generator. This
relationship is the PGi() function.
22

## Slide 24: Lambda-Iteration Example
23

## Slide 25: Lambda-Iteration Example, cont’d
24

## Slide 26: Lambda-Iteration Example, cont’d
25

## Slide 27: Lambda-Iteration Example, cont’d
26

## Slide 28: Generator MW Limits
Generators have limits on the minimum and maximum amount of power they can produce
Often times the minimum limit is not zero. This represents a limit on the generator’s operation with the desired fuel type
Because of varying system economics usually many generators in a system are operated at their maximum MW limits.
27

## Slide 29: Lambda-Iteration with Gen Limits
28

## Slide 30: Lambda-Iteration Gen Limit Example
29

## Slide 31: Lambda-Iteration Limit Example,cont’d
30

## Slide 32: Back of Envelope Values
Often times incremental costs can be approximated by a constant value:
  $/MWhr = fuelcost * heatrate + variable O&M
  Typical heatrate for a coal plant is 10, modern combustion turbine is 10, combined cycle plant is 7 to 8, older combustion turbine 15.
  Fuel costs ($/MBtu) are quite variable, with current values around 1.5 for coal, 4 for natural gas, 0.5 for nuclear, probably 10 for fuel oil.
  Hydro, solar and wind costs tend to be quite low, but for this sources the fuel is free but limited
31

## Slide 33: Inclusion of Transmission Losses
The losses on the transmission system are a function of the generation dispatch. In general, using generators closer to the load results in lower losses
This impact on losses should be included when doing the economic dispatch
Losses can be included by slightly rewriting the Lagrangian:
32

## Slide 34: Impact of Transmission Losses
33

## Slide 35: Impact of Transmission Losses
The penalty factor
at the slack bus is
always unity!
34

## Slide 36: Impact of Transmission Losses
35

## Slide 37: Calculation of Penalty Factors
36

## Slide 38: Two Bus Penalty Factor Example
37