## Slide 1: ECE 476 Power System Analysis
Lecture 8: Transmission Line Parameters
Prof. Tom Overbye
Dept. of Electrical and Computer Engineering
University of Illinois at Urbana-Champaign
overbye@illinois.edu

## Slide 2: Announcements
Please read Chapters 5 and 3
Quiz today on HW 3
HW 4 is 4.32, 4.41, 5.1, 5.7, 5.14; this one must be turned in on Sept 22 (hence there will be no quiz that day)

## Slide 3: Transmission Line Models
Previous lectures have covered how to calculate the distributed inductance, capacitance and resistance of transmission lines.
In this section we will use these distributed parameters to develop the transmission line models used in power system analysis.

## Slide 4: Transmission Line Equivalent Circuit
Our current model of a transmission line is shown below
Units on
z and y are
per unit
length!

## Slide 5: Derivation of V, I Relationships

## Slide 6: Setting up a Second Order Equation

## Slide 7: V, I Relationships, cont’d

## Slide 8: Equation for Voltage

## Slide 9: Real Hyperbolic Functions
For real x the cosh and sinh functions have the following form:

## Slide 10: Complex Hyperbolic Functions
For x =  + j the cosh and sinh functions have the following form

## Slide 11: Determining Line Voltage

## Slide 12: Determining Line Voltage, cont’d

## Slide 13: Determining Line Current

## Slide 14: Transmission Line Example

## Slide 15: Transmission Line Example, cont’d

## Slide 16: Transmission Line Example, cont’d

## Slide 17: Lossless Transmission Lines

## Slide 18: Lossless Transmission Lines
If P > SIL then line consumes
vars; otherwise line generates vars.

## Slide 19: Example 5.4 (SIL Loading and Maximum Loading)

## Slide 20: Transmission Matrix Model
Oftentimes we’re only interested in the terminal characteristics of the transmission line. Therefore we can model it as a “black box”.
VS
VR
+
+
-
-
IS
IR
Transmission
Line

## Slide 21: Transmission Matrix Model, cont’d

## Slide 22: Equivalent Circuit Model
Next we’ll use the T matrix values to derive the
parameters Z' and Y'.

## Slide 23: Equivalent Circuit Parameters

## Slide 24: Equivalent circuit parameters

## Slide 25: Simplified Parameters

## Slide 26: Simplified Parameters

## Slide 27: Medium Length Line Approximations

## Slide 28: Three Line Models

## Slide 29: Power Transfer in Short Lines
Often we'd like to know the maximum power that could be transferred through a short transmission line
V1
V2
+
+
-
-
I1
I1
Transmission
Line with Impedance Z
S12
S21

## Slide 30: Power Transfer in Lossless Lines